DIVISION OF OIL AND PUBLIC SAFETY 
 BOILER INSPECTION SECTION
 BOILER AND PRESSURE VESSEL RULE 
7 CCR 1101-5  
Effective  November 1, 2008
ARTICLE 1  GENERAL PROVISIONS
Section 1-4  Effective Date
These amended rules shall be effective on November 1, 2008.
Section 1-5  Codes Incorporated by Reference
1-5-1  Codes incorporated by reference
The following codes are incorporated by reference:
(a)  For the construction of new boilers and pressure vessels, the ASME Boiler and Pressure Vessel Code, sections I, IV, VIII-Divisions 1 and 2 and 3, X and B31.1, 2007 edition.
(b)  For in service inspection, repairs, alterations and re-rating of boilers and pressure vessels performed after July 31, 2006:
(1)  For boilers, pressure vessels and pressure retaining items the NBIC Code, 2007 Edition;
(2)  For pressure vessels used in the petroleum and chemical processing industries, the API/ASME 510, 9th edition, addenda 1-3;
(3)  For pressure piping used in the petroleum and chemical processing industries, the API/ASME 570, 2nd edition, addenda 1-4.
(c)  ASME CSD-1, 2006 edition.
(d)  NFPA 85, Boiler and Combustion Systems Hazards Code, 2007 edition.

ARTICLE 2  INSPECTIONS
Section 2-1  Inspection Schedule
The following external inspection schedules are established pursuant to §9-4-103(3) CRS:
 (c)  Low-pressure boilers, water heaters, and gas direct-fired jacketed steam kettles covered by these rules and regulations shall receive a certificate inspection biennially, with an internal inspection at least every two years where construction permits.

Section 3-4  Inspection Fees
 (d)  The following inspection fee schedule applies to all inspections performed on or after November 1, 2008:
 	Inspection performed by State Boiler Inspector	Inspection performed by Special Boiler Inspector	
Inspection of a new boiler during installation	$0	$0	
Certificate inspection of a new boiler after installation is completed	$100	N.A.	
Internal inspection of an existing boiler or pressure vessel (certificate inspection as authorized by the director)	$125	$10	
External certificate inspection of an existing power or process boiler where construction permits an internal inspection to be conducted	$85	$10	
 Biennial external inspection of all other boilers including copper tube boilers	$85	$10	
Hot water heaters inspected as boilers due to BTU, size or temperature	$50	$10	
External certificate inspection of gas direct-fired jacketed steam kettle	$50	$10	
External certificate inspection of indirect fired jacketed steam kettle	$0	$0	
External certificate inspection of exempt boilers and pressure vessels	$85	$0	
1st re-inspection of red-tagged boiler	$0	$0	
2nd and subsequent re-inspection of red tagged boiler	$85	$0	
Disconnection inspection	$0	$0	

(e)  The certificate of boiler operation issuance fee is $25 for each certificate inspection performed by a State or Special Inspector.