1-5-1 Codes incorporated by reference

The following codes are incorporated by reference:

(a)	For the construction of new boilers and pressure vessels, the ASME Boiler and Pressure Vessel Code, sections I, IV, VIII-Divisions 1 and 2 and 3, X and B31.1, 2007 edition.

(b)	For service inspection, repairs, alterations and re-rating of boilers and pressure vessels performed after July 31, 2006:

(1)	For boilers, pressure vessels and pressure retaining items in NBIC Code, 2007
Edition;

(2)	For pressure vessels used in the petroleum and chemical processing industries, the API/ASME 510, 9th edition, addenda 1-3;

(3)	For pressure piping used in the petroleum and chemical processing industries, the API/ASME 570, 2nd edition, addenda 1-4.

(c)	ASME CSD-1, April 2007 edition.

(d)	NFPA 85, Boiler and Combustion Systems Hazards Code, 2007 edition.

Article 2 INSPECTIONS

Section 2-1 Inspection Schedule

(c)	Low-pressure boilers, water heaters, and gas direct-fired jacketed steam kettles 
covered by these rules and regulations shall receive a certificate inspection biennially, with an internal inspection at least every two years where construction permits.

3-4 Inspection Fees
(d)  The following inspection fee schedule applies to all inspections performed on or after November 1, 2008:

	2008 Fees	2008 Fees	
Type of Inspection	Inspection performed by State Boiler Inspector	State fees when inspection performed by Special Boiler Inspector	
Inspection of a new boiler during installation	$0	$0	
Certificate inspection of a new boiler after installation is completed	$100	N.A.(required to be performed by the state)	
Internal inspection of an existing boiler or pressure vessel (certificate inspection as authorized by the director)	$125	$10	
External certificate inspection of an existing power or process boiler where construction permits an internal inspection to be conducted	$85	$10	
Annual external certificate inspection of all other existing boilers, including copper tube boilers located at a school, nursing home, hospital, prison or jail	Discontinued	Discontinued	
Biennial external certificate inspection of all other boilers including copper tube	$85
	$10	
Hot water heaters (new category)	$50	$10	
External certificate inspection of gas direct-fired jacketed steam kettle	$50	$10	
External certificate inspection of indirect fired jacketed steam kettle	$0	$0	
External certificate inspection of federally regulated pressure vessels (MSHA air tanks)	$85	$10	
External certificate inspection of exempt boilers and pressure vessels	$85	$10	
1st re-inspection of condemned boiler	$0	$0	
2nd and subsequent re-inspection of condemned boiler	$85	$10	
Disconnection inspection	$0	$0	

(e)  The certificate of boiler operation issuance fee is $25 for each certificate inspection performed by a State or Special Inspector.